|  |  |
| --- | --- |
| Brand |  |
| Category | **Machine for Tower Erection and Stringing Operation** |
| Sub-Category | **Hydraulic Puller** |
| Product Type | **107R8** |
| Product Tagline | **Hydraulic Puller Underground 90-95 KN** |
| Gambar Utama Produk |  |
| Product Description | Hydraulic Puller 90 KN Capacity For Single Rope Pulling On Overhead Stringing Operations As Well As Underground Cabling. |
| PDF Brosur | https://www.dropbox.com/s/ehtdlcd9lsx14xg/TEMA\_Puller%20Underground\_107R8%20Brochure.pdf?dl=0 |
| Product Details | Puller PerformanceMax pull 90 kNSpeed at max pull 2 km/hMax speed 5 km/hPull at max speed 36 kN**Characteristics**Adherence-wheels Diameter 600 mmMax rope diameter 24 mmWeight 3400 kg**Engine**Diesel (125 Hp) 93 kWCooling LiquidStarter ElectricalOptional Equipment01-PW Preset for digital data recorder, counter-meterand speedometer04-PW Wireless remote control unit c/w console05-PW Rope holder clamp (hydraulic)06-PW Roller guiding device for Underground laying07-PW Hydraulic power take-off for remote reel-winderSpecial features upon request13-PW Pre-heater (up to -30°C)18-PW Counter-meter device20-PW Dynamic speed pulling force control |
| Product Features | Standard features- 1 hydraulic circuit with negative brake system- 1 dynamometer for direct reading of pulling valuewith load-limiter device- Thermally treated steel bull-wheels- Automatic reel-winder suitable for steel reel 1100÷1400 mm- Wired remote control unit c/w console- Rigid axle with tyres for towing up to 30 km/h- Balanced top lifting point and anchoring attachements |
| Featured Image |  |
| Gallery | **TERLAMPIR** |